## Slide 1: Senior Design Weekly Update
Group may1633
9/21/2015

## Slide 2: Conceptual sketch
Spectrometer
Microcontroller
Tutorial
Concentration
GPS
Figure
History
Voltage Booster
Microdischarge Device
Android Application
Haisong
Liuchang
Yang
Anthony
Tyler

## Slide 3: Microdischarge device

## Slide 4: Functional Requirements
Display levels of different elements in water sample with precision
Application is based on Android
The whole process should take less than 30s
Have database for the history
Have GPS for location information
Accurately distinguish between good/bad measurements
Transmit data wirelessly to smartphone

## Slide 5: nonfunctional Requirements
Portable, low power and safe
Easy-use-interface. (tutorial, easy to find settings)
Be shielded from water and dirt damage
10ml water is acceptable amount to test with
Be able to remain powered wirelessly for 1000 trials
95% accurate with reading
Smartphone app size should be less than 6MB
Total time of analyzing water sample on smartphone application should take less than 30s
Communication from device to smartphone should take less than 2s
Wireless range should be up to 2m